Product Fiche

Supplier Name / Trademark 	KOHLANGAZ

Suppliers Model Identifier		HPRLBESN VOLANTRA SC NG

Energy Efficiency Class			E

Direct Heat Output (Net)			4.0 kW

Indirect Heat Output			Not applicable

Energy Efficiency Index			67 %

Useful Energy Efficiency			76.3 %

This appliance must be installed in accordance with the rules in force and used in a well-ventilated space.  Consult the instructions before installation and use of the appliance.